Approval Report

The inspection report for Boiler B-4 (Report No: IR-2026-014) was reviewed and found to be satisfactory. The findings indicate that the equipment is in normal operating condition with no visible leakage, abnormal vibration, or out-of-range temperature/pressure readings. Safety indicators and emergency shutdown controls are operational. Therefore, the equipment may continue normal operation without immediate corrective action.

Approval is given for the current operation of Boiler B-4.