Equipment Inspection Report

Report No: IR-2026-014
Equipment: Boiler B-4
Location: Unit 2
Inspection Date: 09 September 2026

Findings:
1. Boiler B-4 was inspected during normal operation.
2. No visible leakage or abnormal vibration was observed.
3. Temperature and pressure readings were within normal operating limits.
4. Safety indicators and emergency shutdown controls were found operational.

Recommendation: Equipment may continue normal operation. No immediate corrective action is required.
Inspection Status: SATISFACTORY